## Caption
DOC CAPTION
In tables | Unmodified values from base case
Modified aspects from base case
Modified values from base case
On the right | New remarks et justifications

## RI - CONSTRUCTION
BUILDING | CONSTRUCTION TEMPLATE |  | TYPES | TYPES IN DB | MATERIALS (out to in) | MATERIALS IN DB | THICKNESS (m) | MATERIALS | MATERIAL IN DB | λ (W/mK) | R (m²K/W) | c (J/kg-K) | ρ (kg/m³)
| Template | Project construction template | WALLS | [5 empty] | P_Mat_Air 16 |  | 0.16
| CONSTRUCTION |  | Front facade wall | P_Mur_Facade avant | Bricks | P_Mat_Briques | 0.35 |  | P_Mat_Air 18 |  | 0.18
| External walls | Depends on the zone (6 types) |  |  | Plaster | P_Mat_Plâtre enduit | 0.01 |  | P_Mat_Air 0 |  | 0
| Below Grade Walls | P_Mur_Enterré |  |  | PUR | P_Mat_Isolant PUR | 0.1 |  | P_Mat_Béton blocs | 1.45 |  | 1000 | 1950
| Flat Roof | Depends on the zone (2 types) |  |  | Vapour barrier | Non relevant | 0.001 |  | P_Mat_Béton chape | 0.37 |  | 1000 | 1150
| Pitched Roof (occupied) | P_Toiture_Inclinée |  |  | Plaster board | P_Mat_Plâtre plaques | 0.01 |  | P_Mat_Béton dalle | 1.3 |  | 1000 | 2400
| Pitched Roof (unoccupied) | P_Toiture_Inclinée | Back facade wall | P_Mur_Facade arrière | Wood siding | Non relevant | 0.02 |  | P_Mat_Béton hourdis | 1.1 | 0.11 | 1000 | 2400
| Internal partitions | P_Mur_Intérieur |  |  | Highly ventilated air layer | Non relevant | 0.06 |  | P_Mat_Bois panneaux | 0.18 |  | 1880 | 700
| SEMI EXPOSED |  |  |  | Roofing | Non relevant | 0.001 |  | P_Mat_Bois pannes | 0.18 |  | 1180 | 600
| Semi Exposed Walls | Project semi-exposed wall |  |  | PUR | P_Mat_Isolant PUR | 0.16 |  | P_Mat_Briques | 1.49 |  | 1000 | 1950
| Semi Exposed Ceiling | Project semi-exposed ceiling |  |  | Bricks | P_Mat_Briques | 0.35 |  | P_Mat_Briques bis | 0.76 |  | 1000 | 1150
| Semi Exposed Floor | Project semi-exposed floor |  |  | Plaster | P_Mat_Plâtre enduit | 0.01 |  | P_Mat_Carrelage grès | 1.2 |  | 1000 | 2000
| FLOORS |  | Gable right wall | P_Mur_Pignon droit | Bricks | P_Mat_Briques | 0.35 |  | P_Mat_Etanchéité bitumineuse | 0.23 |  | 1000 | 1100
| Ground Floor | Depends on the zone (2 types) |  |  | Plaster | P_Mat_Plâtre enduit | 0.01 |  | P_Mat_Isolant laine de roche | 0.035 |  | 1030
| External Floor | Depends on the zone (3 types) |  |  | PUR | P_Mat_Isolant PUR | 0.1 |  | P_Mat_Isolant PUR | 0.025 |  | 1400
| Internal Floor | Depends on the zone (3 types) |  |  | Vapour barrier | Non relevant | 0.001 |  | P_Mat_Isolant XPS | 0.038 |  | 1450
| SUB-SURFACES |  |  |  | Plaster board | P_Mat_Plâtre plaques | 0.01 |  | P_Mat_Linoleum | 0.19 |  | 1400 | 1200
| Walls | Project wall sub-surface construction | Annexe wall | P_Mur_Annexe | Wood siding | Non relevant | 0.02 |  | P_Mat_Plâtre enduit | 0.52 |  | 1000 | 1300
| Internal | Project internal wall sub-surface construction |  |  | Highly ventilated air layer | Non relevant | 0.06 |  | P_Mat_Plâtre plaques | 0.2 | 0.05 | 1000 | 800
| Roof | Project roof sub-surface construction |  |  | Roofing | Non relevant | 0.001 |  | P_Mat_PVC Porte |  | 0.67
| External door | P_Porte d'entrée |  |  | PUR | P_Mat_Isolant PUR | 0.16
| Internal door | Project internal door |  |  | Bricks | P_Mat_Briques | 0.24 |  | Black: Audit values
| INTERNAL THERMAL MASS |  |  |  | Plaster | P_Mat_Plâtre enduit | 0.01 |  | Purple: Energy Plus Le Site values | https://energieplus-lesite.be/donnees/enveloppe44/enveloppe2/conductivite-thermique-des-materiaux/#Remarques_generales
| Construction | Project internal mass | Annex right wall | P_Mur_Annexe droit | Wood siding | Non relevant | 0.02
| Zone capacitance multiplier | 1 |  |  | Highly ventilated air layer | Non relevant | 0.06
| COMPONENT BLOCK |  |  |  | Roofing | Non relevant | 0.001
| Shades and reflects | Yes |  |  | PUR | P_Mat_Isolant PUR | 0.16
| Level | 1-Building |  |  | Concrete blocks | P_Mat_Béton blocs | 0.09
| Material | Project component block material |  |  | Non-ventilated air layer | P_Mat_Air 18 | 0.03
| Flat surfance position | 1-Upper surface |  |  | Plaster board | P_Mat_Plâtre plaques | 0.01
| Maximum Transmittance | 0 | Mansard wall | P_Mur_Mansarde | Slates | Non relevant | 0.01
| Transmittance schedule | ON 24/7 |  |  | Highly ventilated air layer | Non relevant | 0.05
| GEOMETRY, AREAS AND VOLUMES |  |  |  | Bricks | P_Mat_Briques bis | 0.3
| Geoometry Convention Template | External measurements |  |  | Plaster | P_Mat_Plâtre enduit | 0.01
| Zone Geometry and Surface Areas | 2-Outer |  |  | PUR | P_Mat_Isolant PUR | 0.1
| Zone Volume Calculation Method | 1-Inner |  |  | Vapour barrier | Non relevant | 0.001
| Zone Floor Area Calculation Method | 1-Inner |  |  | Plaster board | P_Mat_Plâtre plaques | 0.01
| Window to wall ratio method | 1-Inner | Below grade wall | P_Mur_Enterré | Bricks | P_Mat_Briques | 0.35
| FIXED SURFACE THICKNESS |  | Partition wall | P_Mur_Intérieur | Plaster | P_Mat_Plâtre enduit | 0.01
| External Wall Thickness (m) | No |  |  | Bricks | P_Mat_Briques | 0.1
| Below Grade Wall Thickness (m) | No |  |  | Plaster | P_Mat_Plâtre enduit | 0.01
| Internal Partition Thickness (m) | No | ROOFS
| Ground Floor Thickness (m) | No | Pitched roof | P_Toiture_Inclinée | Slates | Non relevant | 0.02
| Basement Ground Floor Thickness (m) | No |  |  | Highly ventilated air layer | Non relevant | 0.06
| External Floor Thickness (m) | No |  |  | Roofing | Non relevant | 0.001
| Internal Floor Thickness (m) | No |  |  | Rockwool + purlins | P_Mat_Isolant laine de roche P_Mat_Bois pannes | 0.18
| Semi-exposed Wall Thickness (m) | No |  |  | Plaster board | P_Mat_Plâtre plaques | 0.01
| Semi-exposed Floor Thickness (m) | No | Flat roof bathroom | P_Toiture_Plate sdb | Bituminous membrane | P_Mat_Etanchéité bitumineuse | 0.01
| Semi-exposed Ceiling Thickness (m) | No |  |  | PUR | P_Mat_Isolant PUR | 0.06
| Flat Roof Thickness (m) | No |  |  | Vapour barrier | Non relevant | 0.001
| Pitched Roof Thickness (m) | No |  |  | Wood pannel | P_Mat_Bois panneaux | 0.03
| VOID DEPTHS |  |  |  | Rockwool + purlins | P_Mat_Isolant laine de roche P_Mat_Bois pannes | 0.18
| Ceiling Void Depth (m) | 0 |  |  | Plaster board | P_Mat_Plâtre plaques | 0.01
| Floor Void Depth (m) | 0 | Flat roof livingroom | P_Toiture_Plate salon | Bituminous membrane | P_Mat_Membrane bitumineuse | 0.01
| SURFACE CONVECTION |  |  |  | PUR | P_Mat_Isolant PUR | 0.06
| HEATING DESIGN |  |  |  | Vapour barrier | Non relevant | 0.001
| Inside Convection Algorithm | 6-TARP |  |  | Wood pannel | P_Mat_Bois panneaux | 0.018
| Outside Convection Algorithm | 6-DOE-2 |  |  | Rockwool + purlins | P_Mat_Isolant laine de roche P_Mat_Bois pannes | 0.16
| HEATING DESIGN |  |  |  | Non-ventilated air layer | P_Mat_Air 16 | 0.038
| Inside Convection Algorithm | 6-TARP |  |  | Plaster board | P_Mat_Plâtre plaques | 0.01
| Outside Convection Algorithm | 6-DOE-2 | FLOORS
| HEATING DESIGN |  | Floor on level 2 | P_Plancher_Sur R+2 | Rockwool + purlins | P_Mat_Isolant laine de roche P_Mat_Bois pannes | 0.18
| Inside Convection Algorithm | 6-TARP |  |  | Plaster board | P_Mat_Plâtre plaques | 0.01
| Outside Convection Algorithm | 6-DOE-2 |  |  | PUR | P_Mat_Isolant PUR | 0.06
| LINEAR THERMAL BRIDGING AT JUNCTION |  |  |  | Vapour barrier | Non relevant | 0.001
| Use PSI values | No |  |  | Non-ventilated air layer | P_Mat_Air16 | 0.06
PSI VALUES INVOLVING METAL CLADDING
Roof-Wall (W/m-K)
Wall-Ground Floor (W/m-K)
Wall-Wall (corner) (W/m-K)
Wall-Floor (Int - not ground floor) (W/m-K)
Wall-Floor (Ext - not ground floor) (W/m-K)
Lintel above window or door (W/m-K)
Jamb at window or door (W/m-K)
PSI VALUES NOT INVOLVING METAL CLADDING
Roof-Wall (W/m-K)
Wall-Ground Floor (W/m-K)
Wall-Wall (corner) (W/m-K)
Wall-Floor (Int - not ground floor) (W/m-K)
Wall-Floor (Ext - not ground floor) (W/m-K)
Lintel above window or door (W/m-K)
Jamb at window or door (W/m-K)
| AIRTIGHTNESS |  |  |  | Plaster board | P_Mat_Plâtre plaques | 0.01
|  |  | Floor internal | P_Plancher_Internes | Linoleum | P_Mat_Linoleum | 0.01
| Model infiltration | Yes |  |  | Concrete screed | P_Mat_Béton chape | 0.07
| Infiltration rate at 50 Pa (m³/h.m²) | 3 |  |  | Preconcrete slab | P_Mat_Béton hourdis | 0.12
| Schedule | On 24/7 |  |  | Plaster | P_Mat_Plâtre enduit | 0.01
| DELTA T AND WIND SPEED COEFFICIENT |  | Floor on cellar | P_Plancher_Sur cave | Floor tiles | P_Mat_Carrelage grès | 0.01
| Constant | 1 |  |  | Concrete screed | P_Mat_Béton chape | 0.07
| Temperature | 0 |  |  | Preconcrete slab | P_Mat_Béton hourdis | 0.12
| Velocity | 0 |  |  | PUR | P_Mat_Isolant PUR | 0.16
| Velocity Squared | 0 | Floor on ground | P_Plancher_Sur sol | Concrete screed | P_Mat_Béton chape | 0.07
| COST |  |  |  | Concrete slab | P_Mat_Béton dalle | 0.15
|  |  | Floor on ground annex | P_Plancher_Sur sol annexe | Floor tiles | P_Mat_Carrelage grès | 0.01
| Sub structure cost (GBP/m2 GIFA) | Non relevant |  |  | Concrete screed | P_Mat_Béton chape | 0.07
| Structural Frame Type |  |  |  | Concrete slab | P_Mat_Béton dalle | 0.15
| COST OF INTERNAL FINISHES |  | DOOR
| Walls (GPB/m2) |  | External door | P_Porte_Entrée | PVC | P_Mat_PVC porte | 0.05
Floors /GBP/m2)
Ceilings (GBP/m2)

## RM - OPENINGS
BUILDING | GLAZING TEMPLATE |  | WINDOWS | GLAZING TEMPLATE |  | DOOR-WINDOWS | GLAZING TEMPLATE |  | CUPOLAS | GLAZING TEMPLATE |  | COMPO | TYPES | TYPES IN DB | U (W/m²K) | g
| Glazing template | Project glazing template |  | Glazing template | Project glazing template |  | Glazing template | Project glazing template |  | Glazing template | Project glazing template |  | GLAZING
| EXTERNAL WINDOWS |  |  | EXTERNAL WINDOWS |  |  | EXTERNAL WINDOWS |  |  | EXTERNAL WINDOWS |  |  | Triple glazing with low emissivity and insulating gaz | P_Vitrage_Triple BE | 0.6 | 0.6
[13 empty] | Triple synthetic glazing | P_Vitrage_Triple synthetic | 2.2 | 0.5
| Glazing Type | Depends on the window type |  | Glazing Type | P_Vitrage_Triple BE |  | Glazing Type | P_Vitrage_Triple BE |  | Glazing Type | Non relevant |  | FRAME TYPE
| Layout | Non relevant |  | Layout | Non relevant |  | Layout | Non relevant |  | Layout | Non relevant |  | Excellent PVC frame | P_Châssis_PVC | 1.2
| DIMENSIONS |  |  | DIMENSIONS |  |  | DIMENSIONS |  |  | DIMENSIONS
| Type | Non relevant |  | Type | Non relevant |  | Type | Non relevant |  | Type | Non relevant
| Window to Wall % |  |  | Window to Wall % |  |  | Window to Wall % |  |  | Window to Wall %
| Window Height (m) |  |  | Window Height (m) |  |  | Window Height (m) |  |  | Window Height (m)
| Window Spacing (m) |  |  | Window Spacing (m) |  |  | Window Spacing (m) |  |  | Window Spacing (m)
| Sill Height (m) |  |  | Sill Height (m) |  |  | Sill Height (m) |  |  | Sill Height (m)
| Outside reveal depth (m) |  |  | Outside reveal depth (m) |  |  | Outside reveal depth (m) |  |  | Outside reveal depth (m)
| FRAME AND DIVIDERS |  |  | FRAME AND DIVIDERS |  |  | FRAME AND DIVIDERS |  |  | FRAME AND DIVIDERS
| Has a frame/dividers? | Depends on the window |  | Has a frame/dividers? | Yes |  | Has a frame/dividers? | Yes |  | Has a frame/dividers? | No
| Construction | Depends on the window type |  | Construction | P_Châssis_PVC |  | Construction | P_Châssis_PVC |  | Construction
| REVEAL |  |  | REVEAL |  |  | REVEAL |  |  | REVEAL
| Inside reveal depth (m) | 0 |  | Inside reveal depth (m) | 0 |  | Inside reveal depth (m) | 0 |  | Inside reveal depth (m)
| Inside sill depth (m) | 0 |  | Inside sill depth (m) | 0 |  | Inside sill depth (m) | 0 |  | Inside sill depth (m)
| FRAME |  |  | FRAME |  |  | FRAME |  |  | FRAME
| Frame Width (m) | 0.07 |  | Frame Width (m) | 0.07 |  | Frame Width (m) | 0.07 |  | Frame Width (m)
| Frame inside Projection (m) | 0 |  | Frame inside Projection (m) | 0 |  | Frame inside Projection (m) | 0 |  | Frame inside Projection (m)
| Frame outside projection (m) | 0 |  | Frame outside projection (m) | 0 |  | Frame outside projection (m) | 0 |  | Frame outside projection (m)
| Glass edge-centre conduction ratio | 1 |  | Glass edge-centre conduction ratio | 1 |  | Glass edge-centre conduction ratio | 1 |  | Glass edge-centre conduction ratio
| DIVIDERS |  |  | DIVIDERS |  |  | DIVIDERS |  |  | DIVIDERS
| Type | 1-Divided lite |  | Type | 1-Divided lite |  | Type | 1-Divided lite |  | Type
| Width (m) | 0.1 |  | Width (m) | 0.1 |  | Width (m) | 0.1 |  | Width (m)
| Horizontal Dividers | Depends on the window |  | Horizontal Dividers | Depends on the window |  | Horizontal Dividers | Depends on the window |  | Horizontal Dividers
| Vertical Dividers | Depends on the window |  | Vertical Dividers | Depends on the window |  | Vertical Dividers | Depends on the window |  | Vertical Dividers
| Outside Projection (m) | 0 |  | Outside Projection (m) | 0 |  | Outside Projection (m) | 0 |  | Outside Projection (m)
| Inside Projection (m) | 0 |  | Inside Projection (m) | 0 |  | Inside Projection (m) | 0 |  | Inside Projection (m)
| Glass edge-centre conduction ratio | 1 |  | Glass edge-centre conduction ratio | 1 |  | Glass edge-centre conduction ratio | 1 |  | Glass edge-centre conduction ratio
| SHADING |  |  | SHADING |  |  | SHADING |  |  | SHADING
| Window shading | No |  | Window shading | No |  | Window shading | No |  | Window shading | No
| Type |  |  | Type |  |  | Type |  |  | Type
| Position |  |  | Position |  |  | Position |  |  | Position
| Control type |  |  | Control type |  |  | Control type |  |  | Control type
| Slat angle control type |  |  | Slat angle control type |  |  | Slat angle control type |  |  | Slat angle control type
| Operation - Schedule definition |  |  | Operation - Schedule definition |  |  | Operation - Schedule definition |  |  | Operation - Schedule definition
| Local shading | No |  | Local shading | No |  | Local shading | No |  | Local shading | No
| Type |  |  | Type |  |  | Type |  |  | Type
| AIRFLOW CONTROL WINDOWS |  |  | AIRFLOW CONTROL WINDOWS |  |  | AIRFLOW CONTROL WINDOWS |  |  | AIRFLOW CONTROL WINDOWS
| Airflow control | No |  | Airflow control | No |  | Airflow control | No |  | Airflow control | No
| Source |  |  | Source |  |  | Source |  |  | Source
| Destination |  |  | Destination |  |  | Destination |  |  | Destination
| Max Flow Rate (m3/s-m) |  |  | Max Flow Rate (m3/s-m) |  |  | Max Flow Rate (m3/s-m) |  |  | Max Flow Rate (m3/s-m)
| FREE APERTURE |  |  | FREE APERTURE |  |  | FREE APERTURE |  |  | FREE APERTURE
| Opening Position | 1-Top |  | Opening Position | 1-Top |  | Opening Position | 1-Top |  | Opening Position | 1-Top
| % Glazing Area Opens | 5 |  | % Glazing Area Opens | 5 |  | % Glazing Area Opens | 5 |  | % Glazing Area Opens | 5
| INTERNAL WINDOWS |  |  | INTERNAL WINDOWS |  |  | INTERNAL WINDOWS |  |  | INTERNAL WINDOWS
| Glazing Type | Project internal glazing |  | Glazing Type | Project internal glazing |  | Glazing Type | Project internal glazing |  | Glazing Type | Project internal glazing
| Layout | Non relevant |  | Layout | Non relevant |  | Layout | Non relevant |  | Layout | Non relevant
| DIMENSION |  |  | DIMENSION |  |  | DIMENSION |  |  | DIMENSION
| Type |  |  | Type |  |  | Type |  |  | Type
| Window to Wall % |  |  | Window to Wall % |  |  | Window to Wall % |  |  | Window to Wall %
| Window Height (m) |  |  | Window Height (m) |  |  | Window Height (m) |  |  | Window Height (m)
| Window Spacing (m) |  |  | Window Spacing (m) |  |  | Window Spacing (m) |  |  | Window Spacing (m)
| Sill Height (m) |  |  | Sill Height (m) |  |  | Sill Height (m) |  |  | Sill Height (m)
| DIVIDERS |  |  | DIVIDERS |  |  | DIVIDERS |  |  | DIVIDERS
| Type |  |  | Type |  |  | Type |  |  | Type
| Width (m) |  |  | Width (m) |  |  | Width (m) |  |  | Width (m)
| Horizontal Dividers |  |  | Horizontal Dividers |  |  | Horizontal Dividers |  |  | Horizontal Dividers
| Vertical Dividers |  |  | Vertical Dividers |  |  | Vertical Dividers |  |  | Vertical Dividers
| Outside Projection (m) |  |  | Outside Projection (m) |  |  | Outside Projection (m) |  |  | Outside Projection (m)
| Inside Projection |  |  | Inside Projection |  |  | Inside Projection |  |  | Inside Projection
| Glass edge-centre conduction ratio |  |  | Glass edge-centre conduction ratio |  |  | Glass edge-centre conduction ratio |  |  | Glass edge-centre conduction ratio
| FRAME |  |  | FRAME |  |  | FRAME |  |  | FRAME
| Frame Width (m) |  |  | Frame Width (m) |  |  | Frame Width (m) |  |  | Frame Width (m)
| Frame inside Projection (m) |  |  | Frame inside Projection (m) |  |  | Frame inside Projection (m) |  |  | Frame inside Projection (m)
| Frame outside projection (m) |  |  | Frame outside projection (m) |  |  | Frame outside projection (m) |  |  | Frame outside projection (m)
| Glass edge-centre conduction ratio |  |  | Glass edge-centre conduction ratio |  |  | Glass edge-centre conduction ratio |  |  | Glass edge-centre conduction ratio
| FREE APERTURE |  |  | FREE APERTURE |  |  | FREE APERTURE |  |  | FREE APERTURE
| Opening Position | 2-Bottom |  | Opening Position | 2-Bottom |  | Opening Position | 2-Bottom |  | Opening Position | 2-Bottom
| % Glazing Area Opens |  |  | % Glazing Area Opens |  |  | % Glazing Area Opens |  |  | % Glazing Area Opens
| SLOPED ROOF WINDOWS/SKYLIGHTS |  |  | SLOPED ROOF WINDOWS/SKYLIGHTS |  |  | SLOPED ROOF WINDOWS/SKYLIGHTS |  |  | SLOPED ROOF WINDOWS/SKYLIGHTS
| Glazing Type | Depends on the window type |  | Glazing Type | P_Vitrage_Triple BE |  | Glazing Type | Non relevant |  | Glazing Type | P_Vitrage_Triple synthétique
| Layout | Non relevant |  | Layout | Non relevant |  | Layout | Non relevant |  | Layout | Non relevant
| DIMENSIONS |  |  | DIMENSIONS |  |  | DIMENSIONS |  |  | DIMENSIONS
| Type | Non relevant |  | Type | Non relevant |  | Type | Non relevant |  | Type | Non relevant
| Window Width (m) |  |  | Window Width (m) |  |  | Window Width (m) |  |  | Window Width (m)
| Window Height (m) |  |  | Window Height (m) |  |  | Window Height (m) |  |  | Window Height (m)
| Window Spacing (m) |  |  | Window Spacing (m) |  |  | Window Spacing (m) |  |  | Window Spacing (m)
| Sill Height (m) |  |  | Sill Height (m) |  |  | Sill Height (m) |  |  | Sill Height (m)
| Outside reveal depth (m) |  |  | Outside reveal depth (m) |  |  | Outside reveal depth (m) |  |  | Outside reveal depth (m)
| FRAME AND DIVIDERS |  |  | FRAME AND DIVIDERS |  |  | FRAME AND DIVIDERS |  |  | FRAME AND DIVIDERS
| Has frame/dividers | Depends on the window |  | Has frame/dividers | Yes |  | Has frame/dividers |  |  | Has frame/dividers | No
| Construction | Depends on the window type |  | Construction | P_Châssis_PVC |  | Construction |  |  | Construction
| Horizontal Dividers | Depends on the window |  | Horizontal Dividers | Depends on the window |  | Horizontal Dividers |  |  | Horizontal Dividers
| Vertical Dividers | Depends on the window |  | Vertical Dividers | Depends on the window |  | Vertical Dividers |  |  | Vertical Dividers
| Frame width (m) | 0.07 |  | Frame width (m) | 0.07 |  | Frame width (m) |  |  | Frame width (m)
| Divider width (m) | 0.1 |  | Divider width (m) | 0.1 |  | Divider width (m) |  |  | Divider width (m)
| SHADING |  |  | SHADING |  |  | SHADING |  |  | SHADING
| Window shading | No |  | Window shading | No |  | Window shading | No |  | Window shading | No
| Type |  |  | Type |  |  | Type |  |  | Type
| Position |  |  | Position |  |  | Position |  |  | Position
| Control type |  |  | Control type |  |  | Control type |  |  | Control type
| Slat angle control type |  |  | Slat angle control type |  |  | Slat angle control type |  |  | Slat angle control type
| Operation - Schedule definition |  |  | Operation - Schedule definition |  |  | Operation - Schedule definition |  |  | Operation - Schedule definition
| FREE APERTURE |  |  | FREE APERTURE |  |  | FREE APERTURE |  |  | FREE APERTURE
| Opening Position | 2-Bottom |  | Opening Position | 2-Bottom |  | Opening Position | 2-Bottom |  | Opening Position | 2-Bottom
| % Glazing Area Opens | 0 |  | % Glazing Area Opens | 0 |  | % Glazing Area Opens | 0 |  | % Glazing Area Opens | 0
| DOORS |  |  | DOORS |  |  | DOORS |  |  | DOORS
| EXTERNAL |  |  | EXTERNAL |  |  | EXTERNAL |  |  | EXTERNAL
| Auto-generate | No |  | Auto-generate | No |  | Auto-generate | No |  | Auto-generate | No
| % Area Door Opens |  |  | % Area Door Opens |  |  | % Area Door Opens |  |  | % Area Door Opens
| Opening position |  |  | Opening position |  |  | Opening position |  |  | Opening position
| INTERNAL |  |  | INTERNAL |  |  | INTERNAL |  |  | INTERNAL
| Auto-generate | No |  | Auto-generate | No |  | Auto-generate | No |  | Auto-generate | No
| % Area Door Opens |  |  | % Area Door Opens |  |  | % Area Door Opens |  |  | % Area Door Opens
| % Time door is open |  |  | % Time door is open |  |  | % Time door is open |  |  | % Time door is open
| Opening position |  |  | Opening position |  |  | Opening position |  |  | Opening position
| Operation schedule |  |  | Operation schedule |  |  | Operation schedule |  |  | Operation schedule
| VENTS |  |  | VENTS |  |  | VENTS |  |  | VENTS
| Vent type | Grille, small, light slats |  | Vent type | Grille, small, light slats |  | Vent type | Grille, small, light slats |  | Vent type | Grille, small, light slats
| Auto generate | No |  | Auto generate | No |  | Auto generate | No |  | Auto generate | No
| Control option |  |  | Control option |  |  | Control option |  |  | Control option
| Operation schedule |  |  | Operation schedule |  |  | Operation schedule |  |  | Operation schedule

## RS - HVAC
BUILDING | HVAC TEMPLATE |  |  | RDC - Hall 0 | HVAC TEMPLATE |  | RDC - Cuisine | HVAC TEMPLATE |  |  | RDC - SàM | HVAC TEMPLATE |  | RDC - Salon | HVAC TEMPLATE |  | R+1 - Hall 1 | HVAC TEMPLATE |  | R+1 - Ch. par. | HVAC TEMPLATE |  | R+1 - Ch. enf. | HVAC TEMPLATE |  | R+1 - Sdb | HVAC TEMPLATE |  |  | R+2 - Hall 2 | HVAC TEMPLATE |  | R+2 - Rang. 1 | HVAC TEMPLATE |  | R+2 - Rang. 2 | HVAC TEMPLATE |  | R+3 - Combles | HVAC TEMPLATE |  | R-1 - Hall -1 | HVAC TEMPLATE |  | R-1 - Cave 1 | HVAC TEMPLATE |  | R-1 - Cave 2 | HVAC TEMPLATE
| Template | Air to Water Heat Pump, Hybrid with Gas Boiler, Nat Vent |  |  | Template | Air to Water Heat Pump, Hybrid with Gas Boiler, Nat Vent |  | Template | Air to Water Heat Pump, Hybrid with Gas Boiler, Nat Vent |  |  | Template | Air to Water Heat Pump, Hybrid with Gas Boiler, Nat Vent |  | Template | Air to Water Heat Pump, Hybrid with Gas Boiler, Nat Vent |  | Template | Air to Water Heat Pump, Hybrid with Gas Boiler, Nat Vent |  | Template | Air to Water Heat Pump, Hybrid with Gas Boiler, Nat Vent |  | Template | Air to Water Heat Pump, Hybrid with Gas Boiler, Nat Vent |  | Template | Air to Water Heat Pump, Hybrid with Gas Boiler, Nat Vent |  |  | Template | Air to Water Heat Pump, Hybrid with Gas Boiler, Nat Vent |  | Template | Air to Water Heat Pump, Hybrid with Gas Boiler, Nat Vent |  | Template | Air to Water Heat Pump, Hybrid with Gas Boiler, Nat Vent |  | Template | Air to Water Heat Pump, Hybrid with Gas Boiler, Nat Vent |  | Template | Air to Water Heat Pump, Hybrid with Gas Boiler, Nat Vent |  | Template | Air to Water Heat Pump, Hybrid with Gas Boiler, Nat Vent |  | Template | Air to Water Heat Pump, Hybrid with Gas Boiler, Nat Vent
| MECHANICAL VENTILATION |  |  |  | MECHANICAL VENTILATION |  |  | MECHANICAL VENTILATION |  |  |  | MECHANICAL VENTILATION |  |  | MECHANICAL VENTILATION |  |  | MECHANICAL VENTILATION |  |  | MECHANICAL VENTILATION |  |  | MECHANICAL VENTILATION |  |  | MECHANICAL VENTILATION |  |  |  | MECHANICAL VENTILATION |  |  | MECHANICAL VENTILATION |  |  | MECHANICAL VENTILATION |  |  | MECHANICAL VENTILATION |  |  | MECHANICAL VENTILATION |  |  | MECHANICAL VENTILATION |  |  | MECHANICAL VENTILATION
| On | Depends on the zone |  |  | On | No |  | On | Yes |  |  | On | No |  | On | No |  | On | No |  | On | No |  | On | No |  | On | Yes |  |  | On | No |  | On | No |  | On | No |  | On | No |  | On | No |  | On | No |  | On | No
| Outside air definition method |  |  |  | Outside air definition method |  |  | Outside air definition method | 6-Design flow rate |  |  | Outside air definition method |  |  | Outside air definition method |  |  | Outside air definition method |  |  | Outside air definition method |  |  | Outside air definition method |  |  | Outside air definition method | 6-Design flow rate |  |  | Outside air definition method |  |  | Outside air definition method |  |  | Outside air definition method |  |  | Outside air definition method |  |  | Outside air definition method |  |  | Outside air definition method |  |  | Outside air definition method
| Design flow rate (m³/s) |  |  |  | Design flow rate (m³/s) |  |  | Design flow rate (m³/s) | 0.021 | PEB: 75m²/h |  | Design flow rate (m³/s) |  |  | Design flow rate (m³/s) |  |  | Design flow rate (m³/s) |  |  | Design flow rate (m³/s) |  |  | Design flow rate (m³/s) |  |  | Design flow rate (m³/s) | 0.014 | PEB: 50m³/h |  | Design flow rate (m³/s) |  |  | Design flow rate (m³/s) |  |  | Design flow rate (m³/s) |  |  | Design flow rate (m³/s) |  |  | Design flow rate (m³/s) |  |  | Design flow rate (m³/s) |  |  | Design flow rate (m³/s)
| OPERATION |  |  |  | OPERATION |  |  | OPERATION |  |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION
| Schedule |  |  |  | Schedule |  |  | Schedule | P_Occ_Cuisine |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule | P_Occ_Sdb |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule
| ECONOMISER (FREE COOLING) |  |  |  | ECONOMISER (FREE COOLING) |  |  | ECONOMISER (FREE COOLING) |  |  |  | ECONOMISER (FREE COOLING) |  |  | ECONOMISER (FREE COOLING) |  |  | ECONOMISER (FREE COOLING) |  |  | ECONOMISER (FREE COOLING) |  |  | ECONOMISER (FREE COOLING) |  |  | ECONOMISER (FREE COOLING) |  |  |  | ECONOMISER (FREE COOLING) |  |  | ECONOMISER (FREE COOLING) |  |  | ECONOMISER (FREE COOLING) |  |  | ECONOMISER (FREE COOLING) |  |  | ECONOMISER (FREE COOLING) |  |  | ECONOMISER (FREE COOLING) |  |  | ECONOMISER (FREE COOLING)
| Type |  |  |  | Type |  |  | Type | None |  |  | Type |  |  | Type |  |  | Type |  |  | Type |  |  | Type |  |  | Type |  |  |  | Type |  |  | Type |  |  | Type |  |  | Type |  |  | Type |  |  | Type |  |  | Type
| Max outdoor air rate when economiser operates (ac/h) |  |  |  | Max outdoor air rate when economiser operates (ac/h) |  |  | Max outdoor air rate when economiser operates (ac/h) |  |  |  | Max outdoor air rate when economiser operates (ac/h) |  |  | Max outdoor air rate when economiser operates (ac/h) |  |  | Max outdoor air rate when economiser operates (ac/h) |  |  | Max outdoor air rate when economiser operates (ac/h) |  |  | Max outdoor air rate when economiser operates (ac/h) |  |  | Max outdoor air rate when economiser operates (ac/h) |  |  |  | Max outdoor air rate when economiser operates (ac/h) |  |  | Max outdoor air rate when economiser operates (ac/h) |  |  | Max outdoor air rate when economiser operates (ac/h) |  |  | Max outdoor air rate when economiser operates (ac/h) |  |  | Max outdoor air rate when economiser operates (ac/h) |  |  | Max outdoor air rate when economiser operates (ac/h) |  |  | Max outdoor air rate when economiser operates (ac/h)
| HEAT RECOVERY |  |  |  | HEAT RECOVERY |  |  | HEAT RECOVERY |  |  |  | HEAT RECOVERY |  |  | HEAT RECOVERY |  |  | HEAT RECOVERY |  |  | HEAT RECOVERY |  |  | HEAT RECOVERY |  |  | HEAT RECOVERY |  |  |  | HEAT RECOVERY |  |  | HEAT RECOVERY |  |  | HEAT RECOVERY |  |  | HEAT RECOVERY |  |  | HEAT RECOVERY |  |  | HEAT RECOVERY |  |  | HEAT RECOVERY
| On | No |  |  | On |  |  | On | No |  |  | On |  |  | On |  |  | On |  |  | On | No |  | On |  |  | On |  |  |  | On |  |  | On |  |  | On |  |  | On |  |  | On |  |  | On |  |  | On
| Heat recovery type |  |  |  | Heat recovery type |  |  | Heat recovery type |  |  |  | Heat recovery type |  |  | Heat recovery type |  |  | Heat recovery type |  |  | Heat recovery type |  |  | Heat recovery type |  |  | Heat recovery type |  |  |  | Heat recovery type |  |  | Heat recovery type |  |  | Heat recovery type |  |  | Heat recovery type |  |  | Heat recovery type |  |  | Heat recovery type |  |  | Heat recovery type
| Sensible heat recovery effectiveness |  |  |  | Sensible heat recovery effectiveness |  |  | Sensible heat recovery effectiveness |  |  |  | Sensible heat recovery effectiveness |  |  | Sensible heat recovery effectiveness |  |  | Sensible heat recovery effectiveness |  |  | Sensible heat recovery effectiveness |  |  | Sensible heat recovery effectiveness |  |  | Sensible heat recovery effectiveness |  |  |  | Sensible heat recovery effectiveness |  |  | Sensible heat recovery effectiveness |  |  | Sensible heat recovery effectiveness |  |  | Sensible heat recovery effectiveness |  |  | Sensible heat recovery effectiveness |  |  | Sensible heat recovery effectiveness |  |  | Sensible heat recovery effectiveness
| Latent heat recovery effectiveness |  |  |  | Latent heat recovery effectiveness |  |  | Latent heat recovery effectiveness |  |  |  | Latent heat recovery effectiveness |  |  | Latent heat recovery effectiveness |  |  | Latent heat recovery effectiveness |  |  | Latent heat recovery effectiveness |  |  | Latent heat recovery effectiveness |  |  | Latent heat recovery effectiveness |  |  |  | Latent heat recovery effectiveness |  |  | Latent heat recovery effectiveness |  |  | Latent heat recovery effectiveness |  |  | Latent heat recovery effectiveness |  |  | Latent heat recovery effectiveness |  |  | Latent heat recovery effectiveness |  |  | Latent heat recovery effectiveness
| AUXILIARY ENERGY |  |  |  | AUXILIARY ENERGY |  |  | AUXILIARY ENERGY |  |  |  | AUXILIARY ENERGY |  |  | AUXILIARY ENERGY |  |  | AUXILIARY ENERGY |  |  | AUXILIARY ENERGY |  |  | AUXILIARY ENERGY |  |  | AUXILIARY ENERGY |  |  |  | AUXILIARY ENERGY |  |  | AUXILIARY ENERGY |  |  | AUXILIARY ENERGY |  |  | AUXILIARY ENERGY |  |  | AUXILIARY ENERGY |  |  | AUXILIARY ENERGY |  |  | AUXILIARY ENERGY
| Pump etc energy (W/m²) | 0 |  |  | Pump etc energy (W/m²) | 0 |  | Pump etc energy (W/m²) | 0 |  |  | Pump etc energy (W/m²) | 0 |  | Pump etc energy (W/m²) | 0 |  | Pump etc energy (W/m²) | 0 |  | Pump etc energy (W/m²) | 0 |  | Pump etc energy (W/m²) | 0 |  | Pump etc energy (W/m²) | 0 |  |  | Pump etc energy (W/m²) | 0 |  | Pump etc energy (W/m²) | 0 |  | Pump etc energy (W/m²) | 0 |  | Pump etc energy (W/m²) | 0 |  | Pump etc energy (W/m²) | 0 |  | Pump etc energy (W/m²) | 0 |  | Pump etc energy (W/m²) | 0
| HEATING |  |  |  | HEATING |  |  | HEATING |  |  |  | HEATING |  |  | HEATING |  |  | HEATING |  |  | HEATING |  |  | HEATING |  |  | HEATING |  |  |  | HEATING |  |  | HEATING |  |  | HEATING |  |  | HEATING |  |  | HEATING |  |  | HEATING |  |  | HEATING
| Heated | Depends on the zone |  |  | Heated | No |  | Heated | Yes |  |  | Heated | Yes |  | Heated | Yes |  | Heated | No |  | Heated | Yes |  | Heated | Yes |  | Heated | Yes |  |  | Heated | No |  | Heated | Yes |  | Heated | Yes |  | Heated | No |  | Heated | No |  | Heated | No |  | Heated | No
| Fuel | 1 - Electricity from grid |  |  | Fuel |  |  | Fuel | 1 - Electricity from grid |  |  | Fuel | 1 - Electricity from grid |  | Fuel | 1 - Electricity from grid |  | Fuel |  |  | Fuel | 1 - Electricity from grid |  | Fuel | 1 - Electricity from grid |  | Fuel | 1 - Electricity from grid |  |  | Fuel |  |  | Fuel | 1 - Electricity from grid |  | Fuel | 1 - Electricity from grid |  | Fuel |  |  | Fuel |  |  | Fuel |  |  | Fuel
| Heating system seasonal CoP | 3.5 |  |  | Heating system seasonal CoP |  |  | Heating system seasonal CoP | 3.5 |  |  | Heating system seasonal CoP | 3.5 |  | Heating system seasonal CoP | 3.5 |  | Heating system seasonal CoP |  |  | Heating system seasonal CoP | 3.5 |  | Heating system seasonal CoP | 3.5 |  | Heating system seasonal CoP | 3.5 |  |  | Heating system seasonal CoP |  |  | Heating system seasonal CoP | 3.5 |  | Heating system seasonal CoP | 3.5 |  | Heating system seasonal CoP |  |  | Heating system seasonal CoP |  |  | Heating system seasonal CoP |  |  | Heating system seasonal CoP
| SUPPLY AIR CONDITION |  |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION
| Maximum supply air temperature (°C) | 35 |  |  | Maximum supply air temperature (°C) |  |  | Maximum supply air temperature (°C) | 35 |  |  | Maximum supply air temperature (°C) | 35 |  | Maximum supply air temperature (°C) | 35 |  | Maximum supply air temperature (°C) |  |  | Maximum supply air temperature (°C) | 35 |  | Maximum supply air temperature (°C) | 35 |  | Maximum supply air temperature (°C) | 35 |  |  | Maximum supply air temperature (°C) |  |  | Maximum supply air temperature (°C) | 35 |  | Maximum supply air temperature (°C) | 35 |  | Maximum supply air temperature (°C) |  |  | Maximum supply air temperature (°C) |  |  | Maximum supply air temperature (°C) |  |  | Maximum supply air temperature (°C)
| Maximum supply air humidity (g/g) | 0.0156 |  |  | Maximum supply air humidity (g/g) |  |  | Maximum supply air humidity (g/g) | 0.0156 |  |  | Maximum supply air humidity (g/g) | 0.0156 |  | Maximum supply air humidity (g/g) | 0.0156 |  | Maximum supply air humidity (g/g) |  |  | Maximum supply air humidity (g/g) | 0.0156 |  | Maximum supply air humidity (g/g) | 0.0156 |  | Maximum supply air humidity (g/g) | 0.0156 |  |  | Maximum supply air humidity (g/g) |  |  | Maximum supply air humidity (g/g) | 0.0156 |  | Maximum supply air humidity (g/g) | 0.0156 |  | Maximum supply air humidity (g/g) |  |  | Maximum supply air humidity (g/g) |  |  | Maximum supply air humidity (g/g) |  |  | Maximum supply air humidity (g/g)
| Heating limit type | 2- Limit capacity |  |  | Heating limit type |  |  | Heating limit type | 2- Limit capacity |  |  | Heating limit type | 2- Limit capacity |  | Heating limit type | 2- Limit capacity |  | Heating limit type |  |  | Heating limit type | 2- Limit capacity |  | Heating limit type | 2- Limit capacity |  | Heating limit type | 2- Limit capacity |  |  | Heating limit type |  |  | Heating limit type | 2- Limit capacity |  | Heating limit type | 2- Limit capacity |  | Heating limit type |  |  | Heating limit type |  |  | Heating limit type |  |  | Heating limit type
| OPERATION |  |  |  | OPERATION |  |  | OPERATION |  |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION
| Schedule | P_Chauffage |  |  | Schedule |  |  | Schedule | P_Chauffage |  |  | Schedule | P_Chauffage |  | Schedule | P_Chauffage |  | Schedule |  |  | Schedule | P_Chauffage |  | Schedule | P_Chauffage |  | Schedule | P_Chauffage |  |  | Schedule |  |  | Schedule | P_Chauffage |  | Schedule | P_Chauffage |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule
| COOLING |  |  |  | COOLING |  |  | COOLING |  |  |  | COOLING |  |  | COOLING |  |  | COOLING |  |  | COOLING |  |  | COOLING |  |  | COOLING |  |  |  | COOLING |  |  | COOLING |  |  | COOLING |  |  | COOLING |  |  | COOLING |  |  | COOLING |  |  | COOLING
| Cooled | No |  |  | Cooled | No |  | Cooled | No |  |  | Cooled | No |  | Cooled | No |  | Cooled | No |  | Cooled | No |  | Cooled | No |  | Cooled | No |  |  | Cooled | No |  | Cooled | No |  | Cooled | No |  | Cooled | No |  | Cooled | No |  | Cooled | No |  | Cooled | No
| Cooling system |  |  |  | Cooling system |  |  | Cooling system |  |  |  | Cooling system |  |  | Cooling system |  |  | Cooling system |  |  | Cooling system |  |  | Cooling system |  |  | Cooling system |  |  |  | Cooling system |  |  | Cooling system |  |  | Cooling system |  |  | Cooling system |  |  | Cooling system |  |  | Cooling system |  |  | Cooling system
| Fuel |  |  |  | Fuel |  |  | Fuel |  |  |  | Fuel |  |  | Fuel |  |  | Fuel |  |  | Fuel |  |  | Fuel |  |  | Fuel |  |  |  | Fuel |  |  | Fuel |  |  | Fuel |  |  | Fuel |  |  | Fuel |  |  | Fuel |  |  | Fuel
| Cooling system seasonal CoP |  |  |  | Cooling system seasonal CoP |  |  | Cooling system seasonal CoP |  |  |  | Cooling system seasonal CoP |  |  | Cooling system seasonal CoP |  |  | Cooling system seasonal CoP |  |  | Cooling system seasonal CoP |  |  | Cooling system seasonal CoP |  |  | Cooling system seasonal CoP |  |  |  | Cooling system seasonal CoP |  |  | Cooling system seasonal CoP |  |  | Cooling system seasonal CoP |  |  | Cooling system seasonal CoP |  |  | Cooling system seasonal CoP |  |  | Cooling system seasonal CoP |  |  | Cooling system seasonal CoP
| SUPPLY AIR CONDITION |  |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION |  |  | SUPPLY AIR CONDITION
| Minimum supply air temperature (°C) |  |  |  | Minimum supply air temperature (°C) |  |  | Minimum supply air temperature (°C) |  |  |  | Minimum supply air temperature (°C) |  |  | Minimum supply air temperature (°C) |  |  | Minimum supply air temperature (°C) |  |  | Minimum supply air temperature (°C) |  |  | Minimum supply air temperature (°C) |  |  | Minimum supply air temperature (°C) |  |  |  | Minimum supply air temperature (°C) |  |  | Minimum supply air temperature (°C) |  |  | Minimum supply air temperature (°C) |  |  | Minimum supply air temperature (°C) |  |  | Minimum supply air temperature (°C) |  |  | Minimum supply air temperature (°C) |  |  | Minimum supply air temperature (°C)
| Minimul supply air humidity (g/g) |  |  |  | Minimul supply air humidity (g/g) |  |  | Minimul supply air humidity (g/g) |  |  |  | Minimul supply air humidity (g/g) |  |  | Minimul supply air humidity (g/g) |  |  | Minimul supply air humidity (g/g) |  |  | Minimul supply air humidity (g/g) |  |  | Minimul supply air humidity (g/g) |  |  | Minimul supply air humidity (g/g) |  |  |  | Minimul supply air humidity (g/g) |  |  | Minimul supply air humidity (g/g) |  |  | Minimul supply air humidity (g/g) |  |  | Minimul supply air humidity (g/g) |  |  | Minimul supply air humidity (g/g) |  |  | Minimul supply air humidity (g/g) |  |  | Minimul supply air humidity (g/g)
| Heating limit type |  |  |  | Heating limit type |  |  | Heating limit type |  |  |  | Heating limit type |  |  | Heating limit type |  |  | Heating limit type |  |  | Heating limit type |  |  | Heating limit type |  |  | Heating limit type |  |  |  | Heating limit type |  |  | Heating limit type |  |  | Heating limit type |  |  | Heating limit type |  |  | Heating limit type |  |  | Heating limit type |  |  | Heating limit type
| OPERATION |  |  |  | OPERATION |  |  | OPERATION |  |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION
| Schedule |  |  |  | Schedule |  |  | Schedule |  |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule
| HUMIDITY CONTROL |  |  |  | HUMIDITY CONTROL |  |  | HUMIDITY CONTROL |  |  |  | HUMIDITY CONTROL |  |  | HUMIDITY CONTROL |  |  | HUMIDITY CONTROL |  |  | HUMIDITY CONTROL |  |  | HUMIDITY CONTROL |  |  | HUMIDITY CONTROL |  |  |  | HUMIDITY CONTROL |  |  | HUMIDITY CONTROL |  |  | HUMIDITY CONTROL |  |  | HUMIDITY CONTROL |  |  | HUMIDITY CONTROL |  |  | HUMIDITY CONTROL |  |  | HUMIDITY CONTROL
| Humidification | No |  |  | Humidification | No |  | Humidification | No |  |  | Humidification | No |  | Humidification | No |  | Humidification | No |  | Humidification | No |  | Humidification | No |  | Humidification | No |  |  | Humidification | No |  | Humidification | No |  | Humidification | No |  | Humidification | No |  | Humidification | No |  | Humidification | No |  | Humidification | No
| Dehumidification | No |  |  | Dehumidification | No |  | Dehumidification | No |  |  | Dehumidification | No |  | Dehumidification | No |  | Dehumidification | No |  | Dehumidification | No |  | Dehumidification | No |  | Dehumidification | No |  |  | Dehumidification | No |  | Dehumidification | No |  | Dehumidification | No |  | Dehumidification | No |  | Dehumidification | No |  | Dehumidification | No |  | Dehumidification | No
| DOMESTIC HOT WATER |  |  |  | DOMESTIC HOT WATER |  |  | DOMESTIC HOT WATER |  |  |  | DOMESTIC HOT WATER |  |  | DOMESTIC HOT WATER |  |  | DOMESTIC HOT WATER |  |  | DOMESTIC HOT WATER |  |  | DOMESTIC HOT WATER |  |  | DOMESTIC HOT WATER |  |  |  | DOMESTIC HOT WATER |  |  | DOMESTIC HOT WATER |  |  | DOMESTIC HOT WATER |  |  | DOMESTIC HOT WATER |  |  | DOMESTIC HOT WATER |  |  | DOMESTIC HOT WATER |  |  | DOMESTIC HOT WATER
| On | Depends on the zone |  |  | On | No |  | On | Yes |  |  | On | No |  | On | No |  | On | No |  | On | No |  | On | No |  | On | Yes |  |  | On | No |  | On | No |  | On | No |  | On | No |  | On | No |  | On | No |  | On | No
| DHW Template | Project DHW |  |  | DHW Template |  |  | DHW Template | Project DHW |  |  | DHW Template |  |  | DHW Template |  |  | DHW Template |  |  | DHW Template |  |  | DHW Template |  |  | DHW Template | Project DHW |  |  | DHW Template |  |  | DHW Template |  |  | DHW Template |  |  | DHW Template |  |  | DHW Template |  |  | DHW Template |  |  | DHW Template
| Type | 1 - Same as HVAC |  |  | Type |  |  | Type | 1 - Same as HVAC |  |  | Type |  |  | Type |  |  | Type |  |  | Type |  |  | Type |  |  | Type | 1 - Same as HVAC |  |  | Type |  |  | Type |  |  | Type |  |  | Type |  |  | Type |  |  | Type |  |  | Type
| DHW Cop |  |  |  | DHW Cop |  |  | DHW Cop |  |  |  | DHW Cop |  |  | DHW Cop |  |  | DHW Cop |  |  | DHW Cop |  |  | DHW Cop |  |  | DHW Cop |  |  |  | DHW Cop |  |  | DHW Cop |  |  | DHW Cop |  |  | DHW Cop |  |  | DHW Cop |  |  | DHW Cop |  |  | DHW Cop
| Fuel |  |  |  | Fuel |  |  | Fuel |  |  |  | Fuel |  |  | Fuel |  |  | Fuel |  |  | Fuel |  |  | Fuel |  |  | Fuel |  |  |  | Fuel |  |  | Fuel |  |  | Fuel |  |  | Fuel |  |  | Fuel |  |  | Fuel |  |  | Fuel
| WATER TEMPERATURES |  |  |  | WATER TEMPERATURES |  |  | WATER TEMPERATURES |  |  |  | WATER TEMPERATURES |  |  | WATER TEMPERATURES |  |  | WATER TEMPERATURES |  |  | WATER TEMPERATURES |  |  | WATER TEMPERATURES |  |  | WATER TEMPERATURES |  |  |  | WATER TEMPERATURES |  |  | WATER TEMPERATURES |  |  | WATER TEMPERATURES |  |  | WATER TEMPERATURES |  |  | WATER TEMPERATURES |  |  | WATER TEMPERATURES |  |  | WATER TEMPERATURES
| Delivery temperature (°C) | 65 |  |  | Delivery temperature (°C) |  |  | Delivery temperature (°C) | 65 |  |  | Delivery temperature (°C) |  |  | Delivery temperature (°C) |  |  | Delivery temperature (°C) |  |  | Delivery temperature (°C) |  |  | Delivery temperature (°C) |  |  | Delivery temperature (°C) | 65 |  |  | Delivery temperature (°C) |  |  | Delivery temperature (°C) |  |  | Delivery temperature (°C) |  |  | Delivery temperature (°C) |  |  | Delivery temperature (°C) |  |  | Delivery temperature (°C) |  |  | Delivery temperature (°C)
| Mains supply temperature (°C) | 10 |  |  | Mains supply temperature (°C) |  |  | Mains supply temperature (°C) | 10 |  |  | Mains supply temperature (°C) |  |  | Mains supply temperature (°C) |  |  | Mains supply temperature (°C) |  |  | Mains supply temperature (°C) |  |  | Mains supply temperature (°C) |  |  | Mains supply temperature (°C) | 10 |  |  | Mains supply temperature (°C) |  |  | Mains supply temperature (°C) |  |  | Mains supply temperature (°C) |  |  | Mains supply temperature (°C) |  |  | Mains supply temperature (°C) |  |  | Mains supply temperature (°C) |  |  | Mains supply temperature (°C)
| OPERATION |  |  |  | OPERATION |  |  | OPERATION |  |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION
| Schedule | Depends on the zone |  |  | Schedule |  |  | Schedule | P_ECS_Cuisine |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule | P_ECS_Sdb |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule
| NATURAL VENTILATION |  |  |  | NATURAL VENTILATION |  |  | NATURAL VENTILATION |  |  |  | NATURAL VENTILATION |  |  | NATURAL VENTILATION |  |  | NATURAL VENTILATION |  |  | NATURAL VENTILATION |  |  | NATURAL VENTILATION |  |  | NATURAL VENTILATION |  |  |  | NATURAL VENTILATION |  |  | NATURAL VENTILATION |  |  | NATURAL VENTILATION |  |  | NATURAL VENTILATION |  |  | NATURAL VENTILATION |  |  | NATURAL VENTILATION |  |  | NATURAL VENTILATION
| On | Depends on the zone |  |  | On | No |  | On | Yes |  |  | On | Yes |  | On | Yes |  | On | No |  | On | Yes |  | On | Yes |  | On | Yes |  |  | On | No |  | On | Yes |  | On | Yes |  | On | No |  | On | No |  | On | No |  | On | No
| Outside air definition method | 1-By zone |  |  | Outside air definition method |  |  | Outside air definition method | 1-By zone |  |  | Outside air definition method | 1-By zone |  | Outside air definition method | 1-By zone |  | Outside air definition method |  |  | Outside air definition method | 1-By zone |  | Outside air definition method | 1-By zone |  | Outside air definition method | 1-By zone |  |  | Outside air definition method |  |  | Outside air definition method | 1-By zone |  | Outside air definition method | 1-By zone |  | Outside air definition method |  |  | Outside air definition method |  |  | Outside air definition method |  |  | Outside air definition method
| Outside air (ac/h) | 5 |  |  | Outside air (ac/h) |  |  | Outside air (ac/h) | 5 |  |  | Outside air (ac/h) | 5 |  | Outside air (ac/h) | 5 |  | Outside air (ac/h) |  |  | Outside air (ac/h) | 5 |  | Outside air (ac/h) | 5 |  | Outside air (ac/h) | 5 |  |  | Outside air (ac/h) |  |  | Outside air (ac/h) | 5 |  | Outside air (ac/h) | 5 |  | Outside air (ac/h) |  |  | Outside air (ac/h) |  |  | Outside air (ac/h) |  |  | Outside air (ac/h)
| OPERATION |  |  |  | OPERATION |  |  | OPERATION |  |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION
| Schedule | P_Vent nat |  |  | Schedule |  |  | Schedule | P_Vent nat |  |  | Schedule | P_Vent nat |  | Schedule | P_Vent nat |  | Schedule |  |  | Schedule | P_Vent nat |  | Schedule | P_Vent nat |  | Schedule | P_Vent nat |  |  | Schedule |  |  | Schedule | P_Vent nat |  | Schedule | P_Vent nat |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule
| OUTDOOR TEMPERATURE LIMITS |  |  |  | OUTDOOR TEMPERATURE LIMITS |  |  | OUTDOOR TEMPERATURE LIMITS |  |  |  | OUTDOOR TEMPERATURE LIMITS |  |  | OUTDOOR TEMPERATURE LIMITS |  |  | OUTDOOR TEMPERATURE LIMITS |  |  | OUTDOOR TEMPERATURE LIMITS |  |  | OUTDOOR TEMPERATURE LIMITS |  |  | OUTDOOR TEMPERATURE LIMITS |  |  |  | OUTDOOR TEMPERATURE LIMITS |  |  | OUTDOOR TEMPERATURE LIMITS |  |  | OUTDOOR TEMPERATURE LIMITS |  |  | OUTDOOR TEMPERATURE LIMITS |  |  | OUTDOOR TEMPERATURE LIMITS |  |  | OUTDOOR TEMPERATURE LIMITS |  |  | OUTDOOR TEMPERATURE LIMITS
| Outdoor min temperature control | No |  |  | Outdoor min temperature control |  |  | Outdoor min temperature control | No |  |  | Outdoor min temperature control | No |  | Outdoor min temperature control | No |  | Outdoor min temperature control |  |  | Outdoor min temperature control | No |  | Outdoor min temperature control | No |  | Outdoor min temperature control | No |  |  | Outdoor min temperature control |  |  | Outdoor min temperature control | No |  | Outdoor min temperature control | No |  | Outdoor min temperature control |  |  | Outdoor min temperature control |  |  | Outdoor min temperature control |  |  | Outdoor min temperature control
| Min temperature definition |  |  |  | Min temperature definition |  |  | Min temperature definition |  |  |  | Min temperature definition |  |  | Min temperature definition |  |  | Min temperature definition |  |  | Min temperature definition |  |  | Min temperature definition |  |  | Min temperature definition |  |  |  | Min temperature definition |  |  | Min temperature definition |  |  | Min temperature definition |  |  | Min temperature definition |  |  | Min temperature definition |  |  | Min temperature definition |  |  | Min temperature definition
| Min temprature (°C) |  | SUMMER |  | Min temprature (°C) |  |  | Min temprature (°C) |  |  |  | Min temprature (°C) |  |  | Min temprature (°C) |  |  | Min temprature (°C) |  |  | Min temprature (°C) |  |  | Min temprature (°C) |  |  | Min temprature (°C) |  |  |  | Min temprature (°C) |  |  | Min temprature (°C) |  |  | Min temprature (°C) |  |  | Min temprature (°C) |  |  | Min temprature (°C) |  |  | Min temprature (°C) |  |  | Min temprature (°C)
| Outdoor max temperature control | No |  |  | Outdoor max temperature control |  |  | Outdoor max temperature control | No |  |  | Outdoor max temperature control | No |  | Outdoor max temperature control | No |  | Outdoor max temperature control |  |  | Outdoor max temperature control | No |  | Outdoor max temperature control | No |  | Outdoor max temperature control | No |  |  | Outdoor max temperature control |  |  | Outdoor max temperature control | No |  | Outdoor max temperature control | No |  | Outdoor max temperature control |  |  | Outdoor max temperature control |  |  | Outdoor max temperature control |  |  | Outdoor max temperature control
| Max temperature definition |  |  |  | Max temperature definition |  |  | Max temperature definition |  |  |  | Max temperature definition |  |  | Max temperature definition |  |  | Max temperature definition |  |  | Max temperature definition |  |  | Max temperature definition |  |  | Max temperature definition |  |  |  | Max temperature definition |  |  | Max temperature definition |  |  | Max temperature definition |  |  | Max temperature definition |  |  | Max temperature definition |  |  | Max temperature definition |  |  | Max temperature definition
| Max temperature (°C) |  |  |  | Max temperature (°C) |  |  | Max temperature (°C) |  |  |  | Max temperature (°C) |  |  | Max temperature (°C) |  |  | Max temperature (°C) |  |  | Max temperature (°C) |  |  | Max temperature (°C) |  |  | Max temperature (°C) |  |  |  | Max temperature (°C) |  |  | Max temperature (°C) |  |  | Max temperature (°C) |  |  | Max temperature (°C) |  |  | Max temperature (°C) |  |  | Max temperature (°C) |  |  | Max temperature (°C)
| DELTA T LIMITS |  |  |  | DELTA T LIMITS |  |  | DELTA T LIMITS |  |  |  | DELTA T LIMITS |  |  | DELTA T LIMITS |  |  | DELTA T LIMITS |  |  | DELTA T LIMITS |  |  | DELTA T LIMITS |  |  | DELTA T LIMITS |  |  |  | DELTA T LIMITS |  |  | DELTA T LIMITS |  |  | DELTA T LIMITS |  |  | DELTA T LIMITS |  |  | DELTA T LIMITS |  |  | DELTA T LIMITS |  |  | DELTA T LIMITS
| Delta T definition | 1-By value |  |  | Delta T definition |  |  | Delta T definition | 1-By value |  |  | Delta T definition | 1-By value |  | Delta T definition | 1-By value |  | Delta T definition |  |  | Delta T definition | 1-By value |  | Delta T definition | 1-By value |  | Delta T definition | 1-By value |  |  | Delta T definition |  |  | Delta T definition | 1-By value |  | Delta T definition | 1-By value |  | Delta T definition |  |  | Delta T definition |  |  | Delta T definition |  |  | Delta T definition
| Delta T (deltaC) | 0 |  |  | Delta T (deltaC) |  |  | Delta T (deltaC) | 0 |  |  | Delta T (deltaC) | 0 |  | Delta T (deltaC) | 0 |  | Delta T (deltaC) |  |  | Delta T (deltaC) | 0 |  | Delta T (deltaC) | 0 |  | Delta T (deltaC) | 0 |  |  | Delta T (deltaC) |  |  | Delta T (deltaC) | 0 |  | Delta T (deltaC) | 0 |  | Delta T (deltaC) |  |  | Delta T (deltaC) |  |  | Delta T (deltaC) |  |  | Delta T (deltaC)
| DELTA T AND WIND SPEED COEFFICIENTS |  |  |  | DELTA T AND WIND SPEED COEFFICIENTS |  |  | DELTA T AND WIND SPEED COEFFICIENTS |  |  |  | DELTA T AND WIND SPEED COEFFICIENTS |  |  | DELTA T AND WIND SPEED COEFFICIENTS |  |  | DELTA T AND WIND SPEED COEFFICIENTS |  |  | DELTA T AND WIND SPEED COEFFICIENTS |  |  | DELTA T AND WIND SPEED COEFFICIENTS |  |  | DELTA T AND WIND SPEED COEFFICIENTS |  |  |  | DELTA T AND WIND SPEED COEFFICIENTS |  |  | DELTA T AND WIND SPEED COEFFICIENTS |  |  | DELTA T AND WIND SPEED COEFFICIENTS |  |  | DELTA T AND WIND SPEED COEFFICIENTS |  |  | DELTA T AND WIND SPEED COEFFICIENTS |  |  | DELTA T AND WIND SPEED COEFFICIENTS |  |  | DELTA T AND WIND SPEED COEFFICIENTS
| Constant | 1 |  |  | Constant |  |  | Constant | 1 |  |  | Constant | 1 |  | Constant | 1 |  | Constant |  |  | Constant | 1 |  | Constant | 1 |  | Constant | 1 |  |  | Constant |  |  | Constant | 1 |  | Constant | 1 |  | Constant |  |  | Constant |  |  | Constant |  |  | Constant
| Temperature | 0 |  |  | Temperature |  |  | Temperature | 0 |  |  | Temperature | 0 |  | Temperature | 0 |  | Temperature |  |  | Temperature | 0 |  | Temperature | 0 |  | Temperature | 0 |  |  | Temperature |  |  | Temperature | 0 |  | Temperature | 0 |  | Temperature |  |  | Temperature |  |  | Temperature |  |  | Temperature
| Velocity | 0 |  |  | Velocity |  |  | Velocity | 0 |  |  | Velocity | 0 |  | Velocity | 0 |  | Velocity |  |  | Velocity | 0 |  | Velocity | 0 |  | Velocity | 0 |  |  | Velocity |  |  | Velocity | 0 |  | Velocity | 0 |  | Velocity |  |  | Velocity |  |  | Velocity |  |  | Velocity
| Velocity squared | 0 |  |  | Velocity squared |  |  | Velocity squared | 0 |  |  | Velocity squared | 0 |  | Velocity squared | 0 |  | Velocity squared |  |  | Velocity squared | 0 |  | Velocity squared | 0 |  | Velocity squared | 0 |  |  | Velocity squared |  |  | Velocity squared | 0 |  | Velocity squared | 0 |  | Velocity squared |  |  | Velocity squared |  |  | Velocity squared |  |  | Velocity squared
| MIXED MODE ZONE EQUIPEMENT |  |  |  | MIXED MODE ZONE EQUIPEMENT |  |  | MIXED MODE ZONE EQUIPEMENT |  |  |  | MIXED MODE ZONE EQUIPEMENT |  |  | MIXED MODE ZONE EQUIPEMENT |  |  | MIXED MODE ZONE EQUIPEMENT |  |  | MIXED MODE ZONE EQUIPEMENT |  |  | MIXED MODE ZONE EQUIPEMENT |  |  | MIXED MODE ZONE EQUIPEMENT |  |  |  | MIXED MODE ZONE EQUIPEMENT |  |  | MIXED MODE ZONE EQUIPEMENT |  |  | MIXED MODE ZONE EQUIPEMENT |  |  | MIXED MODE ZONE EQUIPEMENT |  |  | MIXED MODE ZONE EQUIPEMENT |  |  | MIXED MODE ZONE EQUIPEMENT |  |  | MIXED MODE ZONE EQUIPEMENT
| Mixed mode on | No |  |  | Mixed mode on |  |  | Mixed mode on | No |  |  | Mixed mode on | No |  | Mixed mode on | No |  | Mixed mode on |  |  | Mixed mode on | No |  | Mixed mode on | No |  | Mixed mode on | No |  |  | Mixed mode on |  |  | Mixed mode on | No |  | Mixed mode on | No |  | Mixed mode on |  |  | Mixed mode on |  |  | Mixed mode on |  |  | Mixed mode on
| Min outdoor temperature (°C) |  |  |  | Min outdoor temperature (°C) |  |  | Min outdoor temperature (°C) |  |  |  | Min outdoor temperature (°C) |  |  | Min outdoor temperature (°C) |  |  | Min outdoor temperature (°C) |  |  | Min outdoor temperature (°C) |  |  | Min outdoor temperature (°C) |  |  | Min outdoor temperature (°C) |  |  |  | Min outdoor temperature (°C) |  |  | Min outdoor temperature (°C) |  |  | Min outdoor temperature (°C) |  |  | Min outdoor temperature (°C) |  |  | Min outdoor temperature (°C) |  |  | Min outdoor temperature (°C) |  |  | Min outdoor temperature (°C)
| Max outdoor temperature (°C) |  |  |  | Max outdoor temperature (°C) |  |  | Max outdoor temperature (°C) |  |  |  | Max outdoor temperature (°C) |  |  | Max outdoor temperature (°C) |  |  | Max outdoor temperature (°C) |  |  | Max outdoor temperature (°C) |  |  | Max outdoor temperature (°C) |  |  | Max outdoor temperature (°C) |  |  |  | Max outdoor temperature (°C) |  |  | Max outdoor temperature (°C) |  |  | Max outdoor temperature (°C) |  |  | Max outdoor temperature (°C) |  |  | Max outdoor temperature (°C) |  |  | Max outdoor temperature (°C) |  |  | Max outdoor temperature (°C)
| Min outdoor enthaplpy (J/kg) |  |  |  | Min outdoor enthaplpy (J/kg) |  |  | Min outdoor enthaplpy (J/kg) |  |  |  | Min outdoor enthaplpy (J/kg) |  |  | Min outdoor enthaplpy (J/kg) |  |  | Min outdoor enthaplpy (J/kg) |  |  | Min outdoor enthaplpy (J/kg) |  |  | Min outdoor enthaplpy (J/kg) |  |  | Min outdoor enthaplpy (J/kg) |  |  |  | Min outdoor enthaplpy (J/kg) |  |  | Min outdoor enthaplpy (J/kg) |  |  | Min outdoor enthaplpy (J/kg) |  |  | Min outdoor enthaplpy (J/kg) |  |  | Min outdoor enthaplpy (J/kg) |  |  | Min outdoor enthaplpy (J/kg) |  |  | Min outdoor enthaplpy (J/kg)
| Max outdoor enthalpy (J/kg) |  |  |  | Max outdoor enthalpy (J/kg) |  |  | Max outdoor enthalpy (J/kg) |  |  |  | Max outdoor enthalpy (J/kg) |  |  | Max outdoor enthalpy (J/kg) |  |  | Max outdoor enthalpy (J/kg) |  |  | Max outdoor enthalpy (J/kg) |  |  | Max outdoor enthalpy (J/kg) |  |  | Max outdoor enthalpy (J/kg) |  |  |  | Max outdoor enthalpy (J/kg) |  |  | Max outdoor enthalpy (J/kg) |  |  | Max outdoor enthalpy (J/kg) |  |  | Max outdoor enthalpy (J/kg) |  |  | Max outdoor enthalpy (J/kg) |  |  | Max outdoor enthalpy (J/kg) |  |  | Max outdoor enthalpy (J/kg)
| Min outdoor dew point temperature (°C) |  |  |  | Min outdoor dew point temperature (°C) |  |  | Min outdoor dew point temperature (°C) |  |  |  | Min outdoor dew point temperature (°C) |  |  | Min outdoor dew point temperature (°C) |  |  | Min outdoor dew point temperature (°C) |  |  | Min outdoor dew point temperature (°C) |  |  | Min outdoor dew point temperature (°C) |  |  | Min outdoor dew point temperature (°C) |  |  |  | Min outdoor dew point temperature (°C) |  |  | Min outdoor dew point temperature (°C) |  |  | Min outdoor dew point temperature (°C) |  |  | Min outdoor dew point temperature (°C) |  |  | Min outdoor dew point temperature (°C) |  |  | Min outdoor dew point temperature (°C) |  |  | Min outdoor dew point temperature (°C)
| Max outdoor dew point temperature (°C) |  |  |  | Max outdoor dew point temperature (°C) |  |  | Max outdoor dew point temperature (°C) |  |  |  | Max outdoor dew point temperature (°C) |  |  | Max outdoor dew point temperature (°C) |  |  | Max outdoor dew point temperature (°C) |  |  | Max outdoor dew point temperature (°C) |  |  | Max outdoor dew point temperature (°C) |  |  | Max outdoor dew point temperature (°C) |  |  |  | Max outdoor dew point temperature (°C) |  |  | Max outdoor dew point temperature (°C) |  |  | Max outdoor dew point temperature (°C) |  |  | Max outdoor dew point temperature (°C) |  |  | Max outdoor dew point temperature (°C) |  |  | Max outdoor dew point temperature (°C) |  |  | Max outdoor dew point temperature (°C)
| EARTH TUBE |  |  |  | EARTH TUBE |  |  | EARTH TUBE |  |  |  | EARTH TUBE |  |  | EARTH TUBE |  |  | EARTH TUBE |  |  | EARTH TUBE |  |  | EARTH TUBE |  |  | EARTH TUBE |  |  |  | EARTH TUBE |  |  | EARTH TUBE |  |  | EARTH TUBE |  |  | EARTH TUBE |  |  | EARTH TUBE |  |  | EARTH TUBE |  |  | EARTH TUBE
| Included earthtube | No |  |  | Included earthtube | No |  | Included earthtube | No |  |  | Included earthtube | No |  | Included earthtube | No |  | Included earthtube | No |  | Included earthtube | No |  | Included earthtube | No |  | Included earthtube | No |  |  | Included earthtube | No |  | Included earthtube | No |  | Included earthtube | No |  | Included earthtube | No |  | Included earthtube | No |  | Included earthtube | No |  | Included earthtube | No
| OPERATION |  |  |  | OPERATION |  |  | OPERATION |  |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION |  |  | OPERATION
| Schedule |  |  |  | Schedule |  |  | Schedule |  |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule |  |  | Schedule
| CONTROL |  |  |  | CONTROL |  |  | CONTROL |  |  |  | CONTROL |  |  | CONTROL |  |  | CONTROL |  |  | CONTROL |  |  | CONTROL |  |  | CONTROL |  |  |  | CONTROL |  |  | CONTROL |  |  | CONTROL |  |  | CONTROL |  |  | CONTROL |  |  | CONTROL |  |  | CONTROL
| Minimum zone temperature when cooling (°C) |  |  |  | Minimum zone temperature when cooling (°C) |  |  | Minimum zone temperature when cooling (°C) |  |  |  | Minimum zone temperature when cooling (°C) |  |  | Minimum zone temperature when cooling (°C) |  |  | Minimum zone temperature when cooling (°C) |  |  | Minimum zone temperature when cooling (°C) |  |  | Minimum zone temperature when cooling (°C) |  |  | Minimum zone temperature when cooling (°C) |  |  |  | Minimum zone temperature when cooling (°C) |  |  | Minimum zone temperature when cooling (°C) |  |  | Minimum zone temperature when cooling (°C) |  |  | Minimum zone temperature when cooling (°C) |  |  | Minimum zone temperature when cooling (°C) |  |  | Minimum zone temperature when cooling (°C) |  |  | Minimum zone temperature when cooling (°C)
| Maximum zone temperature when heating (°C) |  |  |  | Maximum zone temperature when heating (°C) |  |  | Maximum zone temperature when heating (°C) |  |  |  | Maximum zone temperature when heating (°C) |  |  | Maximum zone temperature when heating (°C) |  |  | Maximum zone temperature when heating (°C) |  |  | Maximum zone temperature when heating (°C) |  |  | Maximum zone temperature when heating (°C) |  |  | Maximum zone temperature when heating (°C) |  |  |  | Maximum zone temperature when heating (°C) |  |  | Maximum zone temperature when heating (°C) |  |  | Maximum zone temperature when heating (°C) |  |  | Maximum zone temperature when heating (°C) |  |  | Maximum zone temperature when heating (°C) |  |  | Maximum zone temperature when heating (°C) |  |  | Maximum zone temperature when heating (°C)
| Delta temperature (deltaC) |  |  |  | Delta temperature (deltaC) |  |  | Delta temperature (deltaC) |  |  |  | Delta temperature (deltaC) |  |  | Delta temperature (deltaC) |  |  | Delta temperature (deltaC) |  |  | Delta temperature (deltaC) |  |  | Delta temperature (deltaC) |  |  | Delta temperature (deltaC) |  |  |  | Delta temperature (deltaC) |  |  | Delta temperature (deltaC) |  |  | Delta temperature (deltaC) |  |  | Delta temperature (deltaC) |  |  | Delta temperature (deltaC) |  |  | Delta temperature (deltaC) |  |  | Delta temperature (deltaC)
| FAN ELECTRIC CONSUMPTION CONFIGURATION |  |  |  | FAN ELECTRIC CONSUMPTION CONFIGURATION |  |  | FAN ELECTRIC CONSUMPTION CONFIGURATION |  |  |  | FAN ELECTRIC CONSUMPTION CONFIGURATION |  |  | FAN ELECTRIC CONSUMPTION CONFIGURATION |  |  | FAN ELECTRIC CONSUMPTION CONFIGURATION |  |  | FAN ELECTRIC CONSUMPTION CONFIGURATION |  |  | FAN ELECTRIC CONSUMPTION CONFIGURATION |  |  | FAN ELECTRIC CONSUMPTION CONFIGURATION |  |  |  | FAN ELECTRIC CONSUMPTION CONFIGURATION |  |  | FAN ELECTRIC CONSUMPTION CONFIGURATION |  |  | FAN ELECTRIC CONSUMPTION CONFIGURATION |  |  | FAN ELECTRIC CONSUMPTION CONFIGURATION |  |  | FAN ELECTRIC CONSUMPTION CONFIGURATION |  |  | FAN ELECTRIC CONSUMPTION CONFIGURATION |  |  | FAN ELECTRIC CONSUMPTION CONFIGURATION
| Earth tube type |  |  |  | Earth tube type |  |  | Earth tube type |  |  |  | Earth tube type |  |  | Earth tube type |  |  | Earth tube type |  |  | Earth tube type |  |  | Earth tube type |  |  | Earth tube type |  |  |  | Earth tube type |  |  | Earth tube type |  |  | Earth tube type |  |  | Earth tube type |  |  | Earth tube type |  |  | Earth tube type |  |  | Earth tube type
| PIPE SPECIFICATIONS |  |  |  | PIPE SPECIFICATIONS |  |  | PIPE SPECIFICATIONS |  |  |  | PIPE SPECIFICATIONS |  |  | PIPE SPECIFICATIONS |  |  | PIPE SPECIFICATIONS |  |  | PIPE SPECIFICATIONS |  |  | PIPE SPECIFICATIONS |  |  | PIPE SPECIFICATIONS |  |  |  | PIPE SPECIFICATIONS |  |  | PIPE SPECIFICATIONS |  |  | PIPE SPECIFICATIONS |  |  | PIPE SPECIFICATIONS |  |  | PIPE SPECIFICATIONS |  |  | PIPE SPECIFICATIONS |  |  | PIPE SPECIFICATIONS
| Pipe radius (m) |  |  |  | Pipe radius (m) |  |  | Pipe radius (m) |  |  |  | Pipe radius (m) |  |  | Pipe radius (m) |  |  | Pipe radius (m) |  |  | Pipe radius (m) |  |  | Pipe radius (m) |  |  | Pipe radius (m) |  |  |  | Pipe radius (m) |  |  | Pipe radius (m) |  |  | Pipe radius (m) |  |  | Pipe radius (m) |  |  | Pipe radius (m) |  |  | Pipe radius (m) |  |  | Pipe radius (m)
| Pipe thickness (m) |  |  |  | Pipe thickness (m) |  |  | Pipe thickness (m) |  |  |  | Pipe thickness (m) |  |  | Pipe thickness (m) |  |  | Pipe thickness (m) |  |  | Pipe thickness (m) |  |  | Pipe thickness (m) |  |  | Pipe thickness (m) |  |  |  | Pipe thickness (m) |  |  | Pipe thickness (m) |  |  | Pipe thickness (m) |  |  | Pipe thickness (m) |  |  | Pipe thickness (m) |  |  | Pipe thickness (m) |  |  | Pipe thickness (m)
| Pipe lenght (m) |  |  |  | Pipe lenght (m) |  |  | Pipe lenght (m) |  |  |  | Pipe lenght (m) |  |  | Pipe lenght (m) |  |  | Pipe lenght (m) |  |  | Pipe lenght (m) |  |  | Pipe lenght (m) |  |  | Pipe lenght (m) |  |  |  | Pipe lenght (m) |  |  | Pipe lenght (m) |  |  | Pipe lenght (m) |  |  | Pipe lenght (m) |  |  | Pipe lenght (m) |  |  | Pipe lenght (m) |  |  | Pipe lenght (m)
| Pipe thermal conductivity (W/m-K) |  |  |  | Pipe thermal conductivity (W/m-K) |  |  | Pipe thermal conductivity (W/m-K) |  |  |  | Pipe thermal conductivity (W/m-K) |  |  | Pipe thermal conductivity (W/m-K) |  |  | Pipe thermal conductivity (W/m-K) |  |  | Pipe thermal conductivity (W/m-K) |  |  | Pipe thermal conductivity (W/m-K) |  |  | Pipe thermal conductivity (W/m-K) |  |  |  | Pipe thermal conductivity (W/m-K) |  |  | Pipe thermal conductivity (W/m-K) |  |  | Pipe thermal conductivity (W/m-K) |  |  | Pipe thermal conductivity (W/m-K) |  |  | Pipe thermal conductivity (W/m-K) |  |  | Pipe thermal conductivity (W/m-K) |  |  | Pipe thermal conductivity (W/m-K)
| Pipe depth under ground surface (m) |  |  |  | Pipe depth under ground surface (m) |  |  | Pipe depth under ground surface (m) |  |  |  | Pipe depth under ground surface (m) |  |  | Pipe depth under ground surface (m) |  |  | Pipe depth under ground surface (m) |  |  | Pipe depth under ground surface (m) |  |  | Pipe depth under ground surface (m) |  |  | Pipe depth under ground surface (m) |  |  |  | Pipe depth under ground surface (m) |  |  | Pipe depth under ground surface (m) |  |  | Pipe depth under ground surface (m) |  |  | Pipe depth under ground surface (m) |  |  | Pipe depth under ground surface (m) |  |  | Pipe depth under ground surface (m) |  |  | Pipe depth under ground surface (m)
| SOIL HEAT TRANSFER CALCULATIONS |  |  |  | SOIL HEAT TRANSFER CALCULATIONS |  |  | SOIL HEAT TRANSFER CALCULATIONS |  |  |  | SOIL HEAT TRANSFER CALCULATIONS |  |  | SOIL HEAT TRANSFER CALCULATIONS |  |  | SOIL HEAT TRANSFER CALCULATIONS |  |  | SOIL HEAT TRANSFER CALCULATIONS |  |  | SOIL HEAT TRANSFER CALCULATIONS |  |  | SOIL HEAT TRANSFER CALCULATIONS |  |  |  | SOIL HEAT TRANSFER CALCULATIONS |  |  | SOIL HEAT TRANSFER CALCULATIONS |  |  | SOIL HEAT TRANSFER CALCULATIONS |  |  | SOIL HEAT TRANSFER CALCULATIONS |  |  | SOIL HEAT TRANSFER CALCULATIONS |  |  | SOIL HEAT TRANSFER CALCULATIONS |  |  | SOIL HEAT TRANSFER CALCULATIONS
| Soil condition |  |  |  | Soil condition |  |  | Soil condition |  |  |  | Soil condition |  |  | Soil condition |  |  | Soil condition |  |  | Soil condition |  |  | Soil condition |  |  | Soil condition |  |  |  | Soil condition |  |  | Soil condition |  |  | Soil condition |  |  | Soil condition |  |  | Soil condition |  |  | Soil condition |  |  | Soil condition
| Average soil surface temperature (°C) |  |  |  | Average soil surface temperature (°C) |  |  | Average soil surface temperature (°C) |  |  |  | Average soil surface temperature (°C) |  |  | Average soil surface temperature (°C) |  |  | Average soil surface temperature (°C) |  |  | Average soil surface temperature (°C) |  |  | Average soil surface temperature (°C) |  |  | Average soil surface temperature (°C) |  |  |  | Average soil surface temperature (°C) |  |  | Average soil surface temperature (°C) |  |  | Average soil surface temperature (°C) |  |  | Average soil surface temperature (°C) |  |  | Average soil surface temperature (°C) |  |  | Average soil surface temperature (°C) |  |  | Average soil surface temperature (°C)
| Amplitude of soil surface temperature (deltaC) |  |  |  | Amplitude of soil surface temperature (deltaC) |  |  | Amplitude of soil surface temperature (deltaC) |  |  |  | Amplitude of soil surface temperature (deltaC) |  |  | Amplitude of soil surface temperature (deltaC) |  |  | Amplitude of soil surface temperature (deltaC) |  |  | Amplitude of soil surface temperature (deltaC) |  |  | Amplitude of soil surface temperature (deltaC) |  |  | Amplitude of soil surface temperature (deltaC) |  |  |  | Amplitude of soil surface temperature (deltaC) |  |  | Amplitude of soil surface temperature (deltaC) |  |  | Amplitude of soil surface temperature (deltaC) |  |  | Amplitude of soil surface temperature (deltaC) |  |  | Amplitude of soil surface temperature (deltaC) |  |  | Amplitude of soil surface temperature (deltaC) |  |  | Amplitude of soil surface temperature (deltaC)
| Phase constant of soil surface temperature |  |  |  | Phase constant of soil surface temperature |  |  | Phase constant of soil surface temperature |  |  |  | Phase constant of soil surface temperature |  |  | Phase constant of soil surface temperature |  |  | Phase constant of soil surface temperature |  |  | Phase constant of soil surface temperature |  |  | Phase constant of soil surface temperature |  |  | Phase constant of soil surface temperature |  |  |  | Phase constant of soil surface temperature |  |  | Phase constant of soil surface temperature |  |  | Phase constant of soil surface temperature |  |  | Phase constant of soil surface temperature |  |  | Phase constant of soil surface temperature |  |  | Phase constant of soil surface temperature |  |  | Phase constant of soil surface temperature
| TERM FLOW COEFFICIENTS |  |  |  | TERM FLOW COEFFICIENTS |  |  | TERM FLOW COEFFICIENTS |  |  |  | TERM FLOW COEFFICIENTS |  |  | TERM FLOW COEFFICIENTS |  |  | TERM FLOW COEFFICIENTS |  |  | TERM FLOW COEFFICIENTS |  |  | TERM FLOW COEFFICIENTS |  |  | TERM FLOW COEFFICIENTS |  |  |  | TERM FLOW COEFFICIENTS |  |  | TERM FLOW COEFFICIENTS |  |  | TERM FLOW COEFFICIENTS |  |  | TERM FLOW COEFFICIENTS |  |  | TERM FLOW COEFFICIENTS |  |  | TERM FLOW COEFFICIENTS |  |  | TERM FLOW COEFFICIENTS
| Constant |  |  |  | Constant |  |  | Constant |  |  |  | Constant |  |  | Constant |  |  | Constant |  |  | Constant |  |  | Constant |  |  | Constant |  |  |  | Constant |  |  | Constant |  |  | Constant |  |  | Constant |  |  | Constant |  |  | Constant |  |  | Constant
| Temperature |  |  |  | Temperature |  |  | Temperature |  |  |  | Temperature |  |  | Temperature |  |  | Temperature |  |  | Temperature |  |  | Temperature |  |  | Temperature |  |  |  | Temperature |  |  | Temperature |  |  | Temperature |  |  | Temperature |  |  | Temperature |  |  | Temperature |  |  | Temperature
| Velocity |  |  |  | Velocity |  |  | Velocity |  |  |  | Velocity |  |  | Velocity |  |  | Velocity |  |  | Velocity |  |  | Velocity |  |  | Velocity |  |  |  | Velocity |  |  | Velocity |  |  | Velocity |  |  | Velocity |  |  | Velocity |  |  | Velocity |  |  | Velocity
| Velocity squared |  |  |  | Velocity squared |  |  | Velocity squared |  |  |  | Velocity squared |  |  | Velocity squared |  |  | Velocity squared |  |  | Velocity squared |  |  | Velocity squared |  |  | Velocity squared |  |  |  | Velocity squared |  |  | Velocity squared |  |  | Velocity squared |  |  | Velocity squared |  |  | Velocity squared |  |  | Velocity squared |  |  | Velocity squared
| AIR TEMPERATURE DISTRIBUTION |  |  |  | AIR TEMPERATURE DISTRIBUTION |  |  | AIR TEMPERATURE DISTRIBUTION |  |  |  | AIR TEMPERATURE DISTRIBUTION |  |  | AIR TEMPERATURE DISTRIBUTION |  |  | AIR TEMPERATURE DISTRIBUTION |  |  | AIR TEMPERATURE DISTRIBUTION |  |  | AIR TEMPERATURE DISTRIBUTION |  |  | AIR TEMPERATURE DISTRIBUTION |  |  |  | AIR TEMPERATURE DISTRIBUTION |  |  | AIR TEMPERATURE DISTRIBUTION |  |  | AIR TEMPERATURE DISTRIBUTION |  |  | AIR TEMPERATURE DISTRIBUTION |  |  | AIR TEMPERATURE DISTRIBUTION |  |  | AIR TEMPERATURE DISTRIBUTION |  |  | AIR TEMPERATURE DISTRIBUTION
| Distribution mode | 1-Mixed |  |  | Distribution mode | 1-Mixed |  | Distribution mode | 1-Mixed |  |  | Distribution mode | 1-Mixed |  | Distribution mode | 1-Mixed |  | Distribution mode | 1-Mixed |  | Distribution mode | 1-Mixed |  | Distribution mode | 1-Mixed |  | Distribution mode | 1-Mixed |  |  | Distribution mode | 1-Mixed |  | Distribution mode | 1-Mixed |  | Distribution mode | 1-Mixed |  | Distribution mode | 1-Mixed |  | Distribution mode | 1-Mixed |  | Distribution mode | 1-Mixed |  | Distribution mode | 1-Mixed
| COST |  |  |  | COST |  |  | COST |  |  |  | COST |  |  | COST |  |  | COST |  |  | COST |  |  | COST |  |  | COST |  |  |  | COST |  |  | COST |  |  | COST |  |  | COST |  |  | COST |  |  | COST |  |  | COST
| HVAC cost (GBP/m2 GIFA) | Non relevant |  |  | HVAC cost (GBP/m2 GIFA) | Non relevant |  | HVAC cost (GBP/m2 GIFA) | Non relevant |  |  | HVAC cost (GBP/m2 GIFA) | Non relevant |  | HVAC cost (GBP/m2 GIFA) | Non relevant |  | HVAC cost (GBP/m2 GIFA) | Non relevant |  | HVAC cost (GBP/m2 GIFA) | Non relevant |  | HVAC cost (GBP/m2 GIFA) | Non relevant |  | HVAC cost (GBP/m2 GIFA) | Non relevant |  |  | HVAC cost (GBP/m2 GIFA) | Non relevant |  | HVAC cost (GBP/m2 GIFA) | Non relevant |  | HVAC cost (GBP/m2 GIFA) | Non relevant |  | HVAC cost (GBP/m2 GIFA) | Non relevant |  | HVAC cost (GBP/m2 GIFA) | Non relevant |  | HVAC cost (GBP/m2 GIFA) | Non relevant |  | HVAC cost (GBP/m2 GIFA) | Non relevant

## RR - PHOTOVOLTAIC
BUILDING | SOLAR COLLECTOR |  | GENERATION | ON SITE ELECTRICITY GENERATION
| Solar collector type | 2-Photovoltaic |  | Include electric load centres | Yes
| Csot (GBP/m²) | 600 |  | Number of electric load centres | 1
| Level | 1-Building |  | Load centre 1 | DC with interver
| Material | Bitumen Felt
| Flat surface position | 1-Upper surface
PHOTOVOLTAIC OPTIONS
| Performance type | 1-Simple
| Performance model | PV Constant Efficiency = 0,15
| Heat transfer integration mode | 1-Decoupled